## 1. Fixture Inputs
Fixture Inputs |  |  |  |  | EDIT SHADED CELLS ONLY
|  | Energy Cost per KWH: | 0.1 |  |  |  | Average Lamp Cost: |  | 30
|  | Maint Cost per Relamp Trip: | 150 |  |  |  | Average Ballast Cost: |  | 75
|  | Operating Hours per Year: | 4300
| Current Installed Fixtures | [9 empty] | Replacement Fixtures
| Qty | Description | System Wattage | HIDE - Line Wattage | Rated Life | HIDE - Line Life | Monthly Rental Rate | HIDE - Line Rental | Cost Each New | HIDE - Line Cost | Qty | Description | System Wattage | HIDE - Line Wattage | Rated Life | HIDE - Line Life | Monthly Rental Rate | HIDE - Line Rental | Price Each | HIDE - Line Item Cost
1 | 100 | 150w HPS Decorative Acorn Fixtures | 190 | 19000 | 17200 | 1720000 | 0 | 0 | 800 | 80000 | 100 | D4 60w LED Post Top Retrofit | 55 | 5500 | 100000 | 10000000 | 0 | 0 | 325 | 32500
2 | 0 | Fixture 2 | 0 | 0 | 17200 | 0 | 0 | 0 | 800 | 0 | 0 | Fixture 2 | 0 | 0 | 100000 | 0 | 0 | 0 | 0 | 0
3 | 0 | Fixture 3 | 0 | 0 | 17200 | 0 | 0 | 0 | 800 | 0 | 0 | Fixture 3 | 0 | 0 | 100000 | 0 | 0 | 0 | 0 | 0
4 | 0 | Fixture 4 | 0 | 0 | 17200 | 0 | 0 | 0 | 800 | 0 | 0 | Fixture 4 | 0 | 0 | 100000 | 0 | 0 | 0 | 0 | 0
5 | 0 | Fixture 5 | 0 | 0 | 17200 | 0 | 0 | 0 | 800 | 0 | 0 | Fixture 5 | 0 | 0 | 100000 | 0 | 0 | 0 | 0 | 0
6 | 0 | Fixture 6 | 0 | 0 | 17200 | 0 | 0 | 0 | 800 | 0 | 0 | Fixture 6 | 0 | 0 | 100000 | 0 | 0 | 0 | 0 | 0
7 | 0 | Fixture 7 | 0 | 0 | 17200 | 0 | 0 | 0 | 800 | 0 | 0 | Fixture 7 | 0 | 0 | 100000 | 0 | 0 | 0 | 0 | 0
8 | 0 | Fixture 8 | 0 | 0 | 17200 | 0 | 0 | 0 | 800 | 0 | 0 | Fixture 8 | 0 | 0 | 100000 | 0 | 0 | 0 | 0 | 0
9 | 0 | Fixture 9 | 0 | 0 | 17200 | 0 | 0 | 0 | 800 | 0 | 0 | Fixture 9 | 0 | 0 | 100000 | 0 | 0 | 0 | 0 | 0
10 | 0 | Fixture 10 | 0 | 0 | 17200 | 0 | 0 | 0 | 800 | 0 | 0 | Fixture 10 | 0 | 0 | 100000 | 0 | 0 | 0 | 0 | 0
11 | 0 | Fixture 11 | 0 | 0 | 17200 | 0 | 0 | 0 | 800 | 0 | 0 | Fixture 11 | 0 | 0 | 100000 | 0 | 0 | 0 | 0 | 0
12 | 0 | Fixture 12 | 0 | 0 | 17200 | 0 | 0 | 0 | 800 | 0 | 0 | Fixture 12 | 0 | 0 | 100000 | 0 | 0 | 0 | 0 | 0
13 | 0 | Fixture 13 | 0 | 0 | 17200 | 0 | 0 | 0 | 800 | 0 | 0 | Fixture 13 | 0 | 0 | 100000 | 0 | 0 | 0 | 0 | 0
14 | 0 | Fixture 14 | 0 | 0 | 17200 | 0 | 0 | 0 | 800 | 0 | 0 | Fixture 14 | 0 | 0 | 100000 | 0 | 0 | 0 | 0 | 0
15 | 0 | Fixture 15 | 0 | 0 | 17200 | 0 | 0 | 0 | 800 | 0 | 0 | Fixture 15 | 0 | 0 | 100000 | 0 | 0 | 0 | 0 | 0
|  |  |  | 19000 |  | 1720000 |  | 0 |  | 80000 |  |  |  | 5500 |  | 10000000 |  | 0
Total: | 100 | Averages: | 190 |  | 17200 |  | 0 |  | 800 |  | 100 | Averages: | 55 |  | 100000 |  | 0
32500

## 2. Proposal
LED SAVINGS PROPOSAL
<Customer Name>
2016-08-01
Thank you for the opportunity to present the following LED technology proposal. This mercury free system is
tested and proven in demanding field applications. These LED fixture systems are designed for maximum
long term performance, low cost operation, and ease of installation, and are backed by industry leading
warranties. The below numbers are based on your specific system and actual measurements taken from
similar installations.
Total Project Cost Savings: | 207209.3023
Return on Investment** (ROI): | 537.6%
Energy Savings: | 71.05%
Labor Savings: | 82.8%
Simple Payback (years): | 3.6476 | Years
Rated System Life: | 23.2558 | Years
Current Rental Annual Profit: | -15870
New Rental Annual Profit: | -4145
Environmental Savings*:
Total CO2 Reduction: | 2072250 | Pounds
System Load Reduction: | 13.5 | KW
Proposed System Includes: | 100 | LED Fixtures/Retrofits
Cost of Delaying Project: | 8910 | Per Year
VEGA's staff of engineers and lighting specialists will support you through the deployment of this system to ensure
you get the most out of the life and performance of this system. We can also provide you with financing options which
will permit you to accelerate the deployment and capture the cost savings earlier. Converting as soon as possible
is the best financial option.
I am pleased to present this proposal. Yesterday's lighting technology is costly and consumes a lot of resources.
Converting to this LED system will have an immediate positive impact on your operating costs and on the resources
it takes to support. Plus the environmental benefits are important to todays eco friendly communities and customers.
Thank you for your careful consideration.
Sincerely,
<Representitive Name>
<Rep Organization>
**The above proposal is an estimate only based on information provided and is not a guarantee or warranty of specific
cost savings, energy savings or return on your investment. Your results may vary depending on your specific installation,
energy rates, or other variances in your cost of operation. The assumptions used to calculate estimated savings are
available upon request.

## Savings Detail (hidden)
Detailed Savings Calculator
Energy Cost per KWH: | 0.1
Maint Cost per Relamp Trip: | 150
Operating Hours per Year: | 4300
Savings Over Life of LED Fixture
Current Installed Fixtures | Monthly Rental Rate | Fixture Qty | Lamp Life (years) | Fixture System Wattage | Replacement LED Fixture | LED Fixture Wattage | Wattage Saved per hour | Total Wattage Saved Over Life | % Energy Savings | Energy Savings | % Maint Savings | Maintenance Savings | Total Savings Over Life of LED Fixture
Current | 0 | 100 | 4 | 190 | Replacement | 55 | 13500 | 1350000000 | 71.05% | 135000 | 82.8% | 72209.3023 | 207209.3023
Security Light Project Financials
[12 empty] | ROI (Return on Investment): | 537.6%
[12 empty] | Total Project Savings: | 207209.3023
Environmental / Load Benefits: | [11 empty] | Savings Per Year: | 8910
|  | Load Reduction (KW): |  |  | 13.5 | [6 empty] | Total New Fixture Cost: | 32500
|  | Pounds of CO2 Emissions Saved: |  |  | 2072250 | [6 empty] | Simple Payback (years): | 3.6476
|  | KWH Saved Per Year: |  |  | 58050
Security Light Rental Profitability
[9 empty] | Current System Profit Per Year: |  |  |  | -15870
[9 empty] | Proposed LED System Profit Per Year: |  |  |  | -4145
[12 empty] | Annual Rental Profit Increase: | 11725

## Cost of Ownership (hidden)
Cost of Ownership Comparison Per Fixture | [11 empty] | Energy Cost per KWH: | 0.1
[12 empty] | Maint Cost per Relamp Trip: | 150
[12 empty] | Operating Hours per Year: | 4300 |  | Qty of units
[11 empty] | CURRENT |  |  |  |  | PROPOSED
[6 empty] | COST OF OWNERSHIP |  |  |  |  | Rate Schedule Profit & Payback per Fixture |  |  |  |  | Rate Schedule Profit & Payback per Fixture
Lamp Type/System | Complete Fixture Cost (incl bulb) | Replacement Lamp Cost | Total System Wattage | Lamp / System Life (hrs) | Life in Years | Energy Cost Per Year | Energy Cost Over 25 Years | Avg Maint Cost Per Year | Avg Total Cost Per Year | Total Cost Over 25 Years Life | Monthly Rental Rate | Annual Revenue | Profit / Loss Per Year | Payback (Years) |  | Monthly Rental Rate | Annual Revenue | Profit / Loss Per Year | Payback (Years)
Current System | 800 | 30 | 190 | 17200 | 4 | 81.7 | 2042.5 | 77 | 158.7 | 3967.5 | 0 | 0 | -158.7 | -5.041 | 100 | N/A | N/A | N/A | N/A
Replacement System | 325 | N/A | 55 | 100000 | 23.2558 | 22 | 550 | 19.45 | 41.45 | 1036.25 | N/A | N/A | N/A | N/A |  | 0 | 0 | -41.45 | -7.8408 | 100
Competitor Info (for comparison) | 200 | 0 | 44 | 50000 | 12.5 | 17.6 | 440 | 20 | 37.6 | 940 | N/A | N/A | N/A | N/A |  | 7.32 | 87.84 | 50.24 | 3.9809
[11 empty] | Current System Profit Per Year: |  | -15870 |  |  | Proposed System Profit Per Year: |  | -4145

## Environmental (hidden)
Environmental Savings:
Over Life of Product, assuming coal electrical generation
Total kWh Saved | 1350000
Total pounds of CO2 |  | 2072250
Total pounds of NOX |  | 2839.05
Total pounds of SO2 |  | 7338.6
Total pounds of PM10 |  | 170.1
Total pounds of PM2.5 |  | 97.2
Total pounds of VOC |  | 41.85
Total pounds of CO |  | 334.8
Total number of Equivalent Cars Taken Off the Road for 25 Years: |  | 4.6713